WDW-HLT Computer control high and low temperature electromechanical tensile testing machines( -70℃～350℃)

- Application

This series testing machines is mainly suitable for rubber, plastic profile, plastic pipe, sheet, sheet, film, wire and cable, waterproof coil, wire and othermaterials in high temperature or low temperature environment, tensile, compression, bending, peeling, tearing, shear and other mechanical properties of the test; It is very convenient for users to carry out research and development, quality control work, and is an ideal testing instrument for industrial and mining enterprises, commodity inspection arbitration, scientific research units, colleges and universities, engineering quality departments.

Specifications

| - MODEL | HST-10EGD | HST-20EGD | HST-30EGD | HST-50EGD |
| --- | --- | --- | --- | --- |
| Load Capacity (kN) | 10 | 20 | 30 | 50 |
| Load accuracy | Class 0.5 |  |  |  |
| Testing Load Accuracy | ±0.5% |  |  |  |
| Testing Load Range(FS) | 0.2%-100% |  |  |  |
| Load Resolution | 1/500,000FS |  |  |  |
| Resolution of displacement(μm) | 0.04 |  |  |  |
| Crosshead speed range(mm/min) (mm/min) | 0.001-1000 |  |  |  |
| Crosshead speed accuracy | ±0.5% of set speed |  |  |  |
| Crosshead Travel(mm) | 1100 |  |  |  |
| Room temperature Tensile Space(mm) | 770 650 |  |  |  |
| Room temperature Compression Space(mm) | 1000 |  |  |  |
| Room temperature Test width (mm) | 450 |  |  |  |
| Operating temperature range | -40℃/-60℃/-70℃ -350℃( according to customer's order) |  |  |  |
| Cooling system | compressor |  |  |  |
| Power | AC220V±10%, 50Hzcan be customized) |  |  |  |